## Measurements
9391
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 6 cm² | 0.578 | 0.52297 | 0.0037403 | -0.06198 | -0.0056086 | 1 | 6 | 96.9
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1911 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 4.85182 90.5591 377.721 609.116 849.847 1033.23 1221.6 1356.99 | -0.593005 101.954 406.335 601.133 807.176 1000.92 1209.7 1400.8 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | UserDefCon | UserDefCon | UserDefCon | UserDefCon | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | Air.temp | Ex.int | Water.pot | Measure.height | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Asty | Esty | Adyn | Crd | Csd | dCsd/dt | αVc | Edyn | Hr | Hs | dHs/dt | αVh | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv/Fm | A_dark | LightAdaptedID | Qmax | Fs | Fm' | PhiPS2 | PS2/1 | Qabs_fs | A_fs | ETR | PhiCO2 | NPQ | alt._Fo' | DarkPulseID | Fmin | Fo' | Fv'/Fm' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | ID | P1_dur | P1_Fmax | T@P1_Fmax | Q@P1_Fmax | P1_PredF | P1_ΔF | P2_dur | P2_ramp | P2_int | P2_int_se | P2_slp | P2_slp_se | P2_R2 | P2_dQdt | P3_dur | P3_Fmax | T@P3_Fmax | Q@P3_Fmax | P3_PredF | P3_ΔF | ID | Dur | DCo | InitSlope | Fo | F1 | T@F1 | T@HIR | F2 | T@F2 | DCmax | T@DCmax | PhiPS2_dc | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | UseDynamic | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | ΔCO2 | CO2_s_d | CO2_r_d | ΔH2O | CO2_b | H2O_b | e_s | e_r | Td_s | Td_r | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | F:MN | F:SLP | F:SD | F:OK | ΔH2O:MN | ΔH2O:SLP | ΔH2O:SD | ΔH2O:OK | Stable | Total | State | Vflow | VPchamber | abs_c_a | abs_c_b | abs_h_a | abs_h_b | Wc_s | Wc_r | Wco_s | Wco_r | Ww_s | Ww_r | Wwo_s | Wwo_r | Flow_s_v | Flow_r_v | Tleaf_mv | Tleaf2_mv | Tleaf_j | Tleaf2_j | Console_RH | Console_T | Console_H2O | Fan_% | Flow_% | Pump | Tchp_pwm | Txchg_pwm | diag_20v | diag_5_4v | diag_12v | diag_5va | diag_3_3vf | AccH2O_des | AccCO2_soda | CO2_hrs | AccH2O_hum | ADC_CH1 | ADC_CH2 | ADC_CH3 | ADC_CH4 | ADC_CH5 | ADC_CH6 | ADC_CH7 | ADC_CH8 | DAC_1 | DAC_2 | DAC_3 | DAC_4 | GPIO | GPIO_dir | excit_5v | power_12v | power_5v | ch1_pullup | AuxPower | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s |  |  | psi | inches | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ s⁻¹ | cm³ | mmol m⁻² s⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ s⁻¹ | cm³ | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [5 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol µmol⁻¹ | [13 empty] | ms |  | ms | µmol m⁻² s⁻¹ |  |  | ms | % |  |  | centimol m⁻² s⁻¹ | centimol m⁻² s⁻¹ |  | mol m⁻² s⁻² | ms |  | ms | µmol m⁻² s⁻¹ |  |  |  | ms |  | s⁻¹ |  |  | ms | ms |  | ms |  | ms |  | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ |  | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | kPa | kPa | °C | °C | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  |  | min⁻¹ |  |  | mmol mol⁻¹ | mmol mol⁻¹ min⁻¹ | mmol mol⁻¹ |  |  |  |  | V | V | [12 empty] | V | V | mV | mV | °C | °C | % | °C | mmol mol⁻¹ | % | % |  | V | V | V | V | V | V | V | mg | mg | hrs | mg | [18 empty] | V | % | % | µmol/mol | mmol/mol | mmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | % | bar: ADC_CH1 to DAC_4
1 | 1686239394.1 | 0 | 20230608 08:49:54 | 08:49:54 | 30 | 19.3 | Intact | 100 | 165 | 1686239385.6 | 0.0010583 | 1.0583 | 4.4656 | 396.4501 | 272.1398 | 27.4239 | 39.9509 | 0.062513 | 3.8252 | 0.061951 | 0.038769 | 321.5111 | 26.8339 | 25.7722 | 3.329 | 50.158 | 1.65 | 3.2896 | 1.679 | -46.6732 | -41.4051 | -2.3051 | 231.1278 | 5.511 | 1.1088 | 4.4656 | 406.5733 | 403.6113 | 0.044231 | 67.0121 | 1.0583 | 15.7147 | 16.3393 | -1.3656e-06 | 77.46 | 0 | 0 | 1 | 0 | 53513.1946 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-244-20230608-08_49_15 | 10061.9 | 350.3033 | 374.3521 | 0.064241 | 0.5 | 1681.2046 | 4.4656 | 54.0014 | 0.0034447 | 1.7592 | 152.6667 | - | 0 | 152.6667 | 0.59218 | 0.10848 | 0.74816 | 0.14311 | 0.79671 | 0.047278 | 0.95272 | 244 | 290 | 369.5 | 195 | 10061.9 | 368.33 | 1.17 | 300 | 24.1 | 374.3521 | 1.1099 | -6.0607 | 0.99754 | 0.56866 | -0.0066826 | 290 | 369.06 | 885 | 10033.8 | 368.31 | 0.75 | [13 empty] | 2000.0094 | 1681.2046 | 0.8406 | 0.16075 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686239385.6 | 396.4501 | 400.0198 | 16.3738 | 15.7195 | 396.3571 | 16.2488 | 500.0836 | 100.6715 | 0.099988 | 25.5714 | 25.7722 | 999.9 | 0 | 0 | 10005.1162 | 0 | 0.22102 | -3.1979 | 403.4135 | 406.4083 | 0.62015 | 400.0198 | 15.7195 | 1.6449 | 1.5825 | 14.3863 | 13.7895 | 2000.0094 | 0.98 | 0.019996 | 0 | 350.3566 | 5 | 7204.7231 | 17494.4313 | 39.7539 | 39.812 | 40.1909 | 39.312 | 41.6638 | 1955.1181 | 39.89 | 0 | 1686239393.7 | 0 | 350.3033 | -2.0143 | -56.8362 | 7203.6923 | 15 | 1686239425.1 | 08:50:25 | 1686239425.1 | 1686239415.1 | 1 | -0.369 | 0.05 | 0.093 | 0.125 | 400 | 16 | 0.38 | 0.11 | -3.1474 | -1.0872 | 0.13797 | 0 | 350.497 | -2.4686 | 0.34518 | 0 | 0.61722 | 0.051336 | 0.0053632 | 1 | 1 | 3 | 1/3 | 2.9517 | 2.7109 | 0.10442 | 0.10478 | 0.088327 | 0.086269 | 27891.8 | 32262.2 | 31039.2 | 34707.1 | 38569.7 | 39249.1 | 42665.3 | 43024.1 | 2.0766 | 2.2538 | 0.23559 | 0 | 21.9166 | 999.9 | 73.562 | 22.819 | 20.3803 | 59.8073 | 18.4095 | 1 | -0.3164 | -1.3123 | 20.2848 | 5.2471 | 11.986 | 4.9733 | 3.2978 | 9999 | 9999 | 999.9 | 9999 | 4.9719 | 1.8536 | 1.8546 | 1.859 | 1.8534 | 1.8578 | 1.855 | 1.8536 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.093 | 0.125 | 0.71853 | -0.00068838 | 1.2147e-07 | -3.398e-13 | -0.055172 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 996.9 | 997 | 0.99121 | 2.3743 | 1.5967 | 2.345 | 1.5906 | 2.3938 | 27.4743 | 15.8394 | 18 | 495.876 | 596.708 | 25.0007 | 23.1028 | 30 | 23.0521 | 23.0202 | 19.859 | 27.9048 | 89.5436 | 25 | 400 | 15.749 | 101.036 | 101.123
2 | 1686240877 | 1482.9 | 20230608 09:14:37 | 09:14:37 | 30 | 19.7 | Excised | 80 | 165 | 1686240868.5 | 0.00015062 | 0.15062 | 2.0488 | 399.7336 | 5.557 | 0.56028 | 40.303 | 0.0084488 | 3.8253 | 0.0084385 | 0.005275 | 321.5097 | 27.2581 | 26.2203 | 3.4185 | 49.8728 | 1.6642 | 3.3369 | 1.7543 | -6.6424 | -84.2157 | -4.7046 | 225.947 | 0.88968 | 0.15697 | 2.0488 | 404.9543 | 405.3863 | -0.30954 | 67.0382 | 0.15062 | 16.4131 | 16.5022 | -3.7151e-05 | 77.5449 | 0 | 0 | 1 | 0 | 53471.8153 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-245-20230608-09_13_58 | 10067.9 | 321.0939 | 334.7323 | 0.040744 | 0.5 | 1681.1982 | 2.0488 | 34.2495 | 0.0020071 | 2.0858 | 145.6368 | - | 0 | 145.6368 | 0.56492 | 0.072124 | 0.78688 | 0.1062 | 0.84464 | 0.032713 | 0.96729 | 245 | 290 | 331.9 | 75 | 10067.9 | 330.57 | 1.33 | 300 | 24.1 | 334.7323 | 1.3522 | -4.1874 | 1.214 | 0.2982 | -0.0066765 | 290 | 331.05 | 895 | 10023.3 | 330.55 | 0.5 | [13 empty] | 2000.0019 | 1681.1982 | 0.8406 | 0.16075 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686240868.5 | 399.7336 | 400.3049 | 16.5059 | 16.4133 | 399.5626 | 16.3619 | 500.0686 | 100.7246 | 0.099972 | 25.8119 | 26.2203 | 999.9 | 0 | 0 | 9999.9463 | 0 | 0.22102 | -0.64813 | 406.364 | 406.9849 | 0.091761 | 400.3049 | 16.4133 | 1.6625 | 1.6532 | 14.5503 | 14.464 | 2000.0019 | 0.98001 | 0.019993 | 0 | 321.1035 | 5 | 6672.4981 | 17494.3563 | 40.6754 | 40.812 | 41.0659 | 40.2185 | 42.4882 | 1955.1163 | 39.8862 | 0 | 1481.3 | 0 | 321.0939 | -1.1055 | -76.1894 | 6672.5392 | 15 | 1686240896 | 09:14:56 | 1686240896 | 1686240896 | 2 | 0.076 | 0.003 | 0.171 | 0.144 | 399 | 16 | 0.25 | 0.09 | -0.73878 | 7.1048 | 1.4123 | 0 | 321.1444 | -0.61071 | 0.22379 | 1 | 0.086601 | 0.077413 | 0.0093344 | 1 | 2 | 3 | 2/3 | 2.951 | 2.7109 | 0.10472 | 0.10463 | 0.088647 | 0.088927 | 27843.3 | 32219.4 | 30999.5 | 34659.6 | 38508.5 | 39086.7 | 42613.1 | 42971.8 | 2.0665 | 2.2374 | 0.23121 | 0 | 22.4246 | 999.9 | 71.713 | 23.383 | 20.5456 | 60.5475 | 18.6538 | 1 | -0.2606 | -1.1275 | 20.2852 | 5.2465 | 11.986 | 4.9733 | 3.2977 | 9999 | 9999 | 999.9 | 9999 | 4.9719 | 1.8536 | 1.8547 | 1.8591 | 1.8534 | 1.8578 | 1.855 | 1.8536 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.171 | 0.144 | 0.34995 | -0.00068838 | 1.2147e-07 | -3.398e-13 | -0.0055278 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 24.2 | 24.4 | 0.99121 | 2.3682 | 1.5967 | 2.3413 | 1.5906 | 2.4365 | 28.5215 | 15.5592 | 18 | 496.823 | 593.258 | 25.0001 | 23.8427 | 30.0001 | 23.8008 | 23.7696 | 19.8833 | 24.7164 | 85.079 | 25 | 400 | 16.4058 | 100.91 | 100.993
3 | 1686242971.1 | 3577 | 20230608 09:49:31 | 09:49:31 | 30 | 19.8 | Intact | 200 | 165 | 1686242963.1 | 0.00083105 | 0.83105 | 4.8173 | 397.0451 | 221.6299 | 22.3391 | 40.0199 | 0.046552 | 3.8252 | 0.046239 | 0.028928 | 321.5068 | 27.3875 | 26.431 | 3.4613 | 50.0298 | 1.6961 | 3.3901 | 1.7652 | -36.6491 | -72.5186 | -4.061 | 208.278 | 4.6644 | 0.79324 | 4.8173 | 406.7263 | 403.79 | -0.00029436 | 67.0153 | 0.83105 | 16.3588 | 16.8488 | 2.1976e-05 | 77.4603 | 0 | 0 | 1 | 0 | 53421.2597 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-246-20230608-09_48_52 | 10062.9 | 374.5541 | 400.998 | 0.065945 | 0.5 | 1681.1791 | 4.8173 | 55.4327 | 0.0036539 | 1.5759 | 156.919 | - | 0 | 156.919 | 0.60868 | 0.10834 | 0.72137 | 0.13583 | 0.76448 | 0.045389 | 0.95461 | 246 | 290 | 395.91 | 75 | 10062.9 | 395.01 | 0.9 | 300 | 24.1 | 400.998 | 1.671 | -6.0275 | 1.4993 | 0.36598 | -0.0066738 | 290 | 395.86 | 825 | 10017.9 | 394.98 | 0.88 | [13 empty] | 1999.9787 | 1681.1791 | 0.8406 | 0.16076 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686242963.1 | 397.0451 | 400.0321 | 16.8271 | 16.3592 | 396.8101 | 16.6851 | 500.0957 | 100.6944 | 0.099997 | 26.0793 | 26.431 | 999.9 | 0 | 0 | 10002.538 | 0 | 0.22102 | -3.0499 | 403.7814 | 406.6851 | 0.47949 | 400.0321 | 16.3592 | 1.6956 | 1.6473 | 14.8559 | 14.4084 | 1999.9787 | 0.98 | 0.019999 | 0 | 374.5557 | 5 | 7756.0513 | 17494.1467 | 42.2913 | 42.1291 | 42.6291 | 41.812 | 44.0083 | 1955.0793 | 39.9 | 0 | 2092.1 | 0 | 374.5541 | -1.7097 | -20.9111 | 7755.885 | 15 | 1686242991.1 | 09:49:51 | 1686242991.1 | 1686242991.1 | 3 | 0.065 | 0 | 0.235 | 0.142 | 401 | 16 | 0.43 | 0.11 | -3.0433 | -0.19983 | 0.025298 | 1 | 374.6477 | -1.7494 | 0.29114 | 0 | 0.47578 | 0.073609 | 0.0074741 | 1 | 2 | 3 | 2/3 | 2.9506 | 2.7108 | 0.10426 | 0.10458 | 0.089915 | 0.088658 | 27845.9 | 32208.7 | 30987.6 | 34647.3 | 38442 | 39087.6 | 42599.4 | 42960.1 | 2.0647 | 2.2307 | 0.21892 | 0 | 22.8393 | 999.9 | 69.027 | 23.746 | 20.219 | 60.3325 | 18.774 | 1 | -0.24682 | -0.84809 | 20.2863 | 5.2441 | 11.9861 | 4.9732 | 3.2972 | 9999 | 9999 | 999.9 | 9999 | 4.9719 | 1.8536 | 1.8546 | 1.859 | 1.8534 | 1.8578 | 1.855 | 1.8536 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.235 | 0.142 | 0.42615 | -0.00068838 | 1.2147e-07 | -3.398e-13 | -0.0027201 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 34.6 | 34.6 | 0.99609 | 2.3828 | 1.5967 | 2.3377 | 1.5906 | 2.4646 | 28.4794 | 15.1827 | 18 | 497.252 | 590.157 | 25.0006 | 24.0415 | 30.0002 | 23.9697 | 23.934 | 19.9768 | 22.7654 | 76.5315 | 25 | 400 | 16.3625 | 100.875 | 100.962
4 | 1686244403 | 5008.9 | 20230608 10:13:23 | 10:13:23 | 30 | 19.9 | Excised | 90 | 165 | 1686244394.5 | 8.5142e-05 | 0.085142 | 0.32227 | 399.7764 | 270.4845 | 27.2684 | 40.3028 | 0.0043436 | 3.8272 | 0.0043408 | 0.0027133 | 321.5125 | 27.9818 | 27.4456 | 3.6739 | 50.2765 | 1.7497 | 3.4802 | 1.9242 | -3.7547 | -190.2398 | -10.7258 | 116.7922 | 0.32301 | 0.040244 | 0.32227 | 406.9784 | 406.7873 | -0.0010436 | 67.0389 | 0.085142 | 17.3131 | 17.3634 | -1.1692e-05 | 77.5608 | 0 | 0 | 1 | 0 | 53382.1185 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-247-20230608-10_12_44 | 10045.5 | 358.8579 | 374.2339 | 0.041086 | 0.5 | 1681.2062 | 0.32227 | 34.5374 | 0.0009802 | 1.7601 | 152.647 | - | 0 | 152.647 | 0.59211 | 0.06939 | 0.74828 | 0.091565 | 0.79686 | 0.029516 | 0.97048 | 247 | 290 | 369.89 | 155 | 10045.5 | 368.75 | 1.14 | 300 | 24.2 | 374.2339 | 1.4545 | -5.5106 | 1.3042 | 0.38935 | -0.0066703 | 290 | 368.55 | 645 | 10018.9 | 368.73 | -0.18 | [13 empty] | 2000.0106 | 1681.2062 | 0.8406 | 0.16076 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686244394.5 | 399.7764 | 399.9798 | 17.3562 | 17.3325 | 399.4994 | 17.1992 | 500.0512 | 100.7134 | 0.099882 | 26.5236 | 27.4456 | 999.9 | 0 | 0 | 10008.4069 | 0 | 0.22102 | -0.24483 | 406.7991 | 407.0347 | 0.032594 | 399.9798 | 17.3325 | 1.7489 | 1.7456 | 15.3374 | 15.3081 | 2000.0106 | 0.98 | 0.020003 | 0 | 358.9178 | 5 | 7420.3813 | 17494.3937 | 43.0896 | 43.25 | 43.562 | 42.687 | 44.875 | 1955.1019 | 39.91 | 0 | 1430.5 | 0 | 358.8579 | 0.33038 | -106.5231 | 7418.6576 | 15 | 1686244425 | 10:13:45 | 1686244420 | 1686244425 | 4 | 0.042 | -0.006 | 0.277 | 0.157 | 400 | 17 | 0.36 | 0.26 | -0.23544 | -0.10349 | 0.07412 | 1 | 358.9055 | -0.23308 | 0.16127 | 1 | 0.03001 | 0.085287 | 0.017814 | 1 | 3 | 3 | 3/3 | 2.9495 | 2.7109 | 0.10446 | 0.10424 | 0.091596 | 0.092004 | 27775.5 | 32140.5 | 30922.8 | 34568.4 | 38290.4 | 38860.1 | 42511.2 | 42868.4 | 2.0463 | 2.2083 | 0.21689 | 0 | 23.8651 | 999.9 | 69.07 | 24.199 | 20.7858 | 57.7425 | 18.109 | 1 | -0.14917 | -0.50869 | 20.2868 | 5.245 | 11.9861 | 4.9721 | 3.2974 | 9999 | 9999 | 999.9 | 9999 | 4.9719 | 1.8536 | 1.8547 | 1.859 | 1.8535 | 1.8579 | 1.855 | 1.8536 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.277 | 0.157 | 0.49138 | -0.00068838 | 1.2147e-07 | -3.398e-13 | -0.0030562 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 23.5 | 23.5 | 0.99609 | 2.3914 | 1.5967 | 2.3364 | 1.5906 | 2.3389 | 29.4314 | 14.9026 | 18 | 498.172 | 588.655 | 24.9979 | 25.3521 | 30.0002 | 25.2939 | 25.2574 | 19.9624 | 21.051 | 78.7768 | 25 | 400 | 17.2163 | 100.665 | 100.74
5 | 1686246539.1 | 7145 | 20230608 10:48:59 | 10:48:59 | 30 | 20.7 | Intact | 290 | 210 | 1686246530.6 | 0.0007071 | 0.7071 | 4.888 | 398.5571 | 186.6989 | 18.8147 | 40.1648 | 0.038663 | 3.8248 | 0.038447 | 0.024049 | 321.5136 | 28.1794 | 26.9666 | 3.5721 | 49.8393 | 1.7678 | 3.547 | 1.8043 | -31.1831 | -24.7562 | -1.3955 | 264.1788 | 2.0808 | 0.70811 | 4.888 | 403.5941 | 403.8844 | -0.60501 | 67.0386 | 0.7071 | 17.1252 | 17.542 | -6.0517e-06 | 77.5533 | 0 | 0 | 1 | 0 | 53278.0086 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-248-20230608-10_48_20 | 10072.4 | 390.1459 | 406.9152 | 0.041211 | 0.5 | 1681.2149 | 4.888 | 34.642 | 0.0036959 | 1.5384 | 157.817 | - | 0 | 157.817 | 0.61216 | 0.06732 | 0.71535 | 0.083594 | 0.75732 | 0.027231 | 0.97277 | 248 | 290 | 405.79 | 65 | 10072.4 | 404.81 | 0.98 | 300 | 24.1 | 406.9152 | 0.98644 | -2.1248 | 0.88571 | 0.17049 | -0.0066795 | 290 | 406.66 | 825 | 10024.9 | 404.8 | 1.86 | [13 empty] | 2000.0213 | 1681.2149 | 0.8406 | 0.16076 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686246530.6 | 398.5571 | 399.9747 | 17.542 | 17.1247 | 398.2691 | 17.382 | 500.0626 | 100.6756 | 0.099906 | 26.8465 | 26.9666 | 999.9 | 0 | 0 | 10003.2038 | 0 | 0.22102 | -1.4275 | 405.6651 | 406.9436 | 0.42135 | 399.9747 | 17.1247 | 1.7665 | 1.724 | 15.4931 | 15.1146 | 2000.0213 | 0.98 | 0.019999 | 0 | 390.2089 | 5 | 8065.6944 | 17494.5125 | 42.7067 | 43 | 43.1909 | 42.562 | 44.562 | 1955.1212 | 39.9 | 0 | 2134.1 | 0 | 390.1459 | -2.4086 | -214.266 | 8063.0131 | 15 | 1686246570.1 | 10:49:30 | 1686246570.1 | 1686246562.1 | 5 | 0.01 | 0.007 | 0.288 | 0.16 | 399 | 17 | 0.35 | 0.1 | -1.9577 | 13.8198 | 2.2569 | 0 | 390.3189 | -2.0394 | 0.25877 | 0 | 0.4213 | -0.0070627 | 0.0029997 | 1 | 1 | 3 | 1/3 | 2.9502 | 2.7113 | 0.10403 | 0.10411 | 0.092422 | 0.091479 | 27823.6 | 32189.8 | 30957.9 | 34612.3 | 38300.8 | 38932 | 42561.6 | 42922.6 | 2.0575 | 2.2105 | 0.18119 | 0 | 24.0178 | 999.9 | 68.258 | 24.914 | 21.449 | 60.1207 | 18.774 | 1 | -0.20586 | -0.44107 | 20.2873 | 5.2459 | 11.9863 | 4.9729 | 3.2973 | 9999 | 9999 | 999.9 | 9999 | 4.9719 | 1.8537 | 1.8547 | 1.8591 | 1.8535 | 1.8579 | 1.855 | 1.8537 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.288 | 0.16 | 0.53324 | -0.00068838 | 1.2147e-07 | -3.398e-13 | -0.0094932 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 35.3 | 35.2 | 0.99121 | 2.3938 | 1.5967 | 2.334 | 1.5906 | 2.3596 | 29.922 | 14.4648 | 18 | 498.752 | 582.413 | 25.0007 | 24.6658 | 30.0001 | 24.608 | 24.5772 | 19.8931 | 23.8999 | 72.4662 | 25 | 400 | 17.1173 | 100.782 | 100.868
6 | 1686248023 | 8628.9 | 20230608 11:13:43 | 11:13:43 | 30 | 20.1 | Excised | 50 | 210 | 1686248015 | 0.00014718 | 0.14718 | 0.553 | 399.6943 | 276.5455 | 27.8739 | 40.2864 | 0.0078391 | 3.8242 | 0.0078301 | 0.0048946 | 321.512 | 28.1159 | 27.1199 | 3.6045 | 50.1473 | 1.7603 | 3.5102 | 1.8442 | -6.4907 | -92.9142 | -5.2379 | 216.8692 | 0.45434 | 0.13197 | 0.553 | 407.0851 | 406.75 | -0.00046125 | 67.0266 | 0.14718 | 17.3853 | 17.472 | 1.294e-05 | 77.4711 | 0 | 0 | 1 | 0 | 53297.5777 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-249-20230608-11_13_04 | 10062.7 | 371.2065 | 381.7813 | 0.027699 | 0.5 | 1681.209 | 0.553 | 23.2837 | 0.0011174 | 1.7056 | 153.8879 | - | 0 | 153.8879 | 0.59692 | 0.046403 | 0.74075 | 0.060266 | 0.78773 | 0.019237 | 0.98076 | 249 | 290 | 379.67 | 65 | 10062.7 | 378.05 | 1.62 | 300 | 24.2 | 381.7813 | 1.5212 | -3.7522 | 1.3643 | 0.21268 | -0.0066732 | 290 | 378.57 | 895 | 10011.7 | 378.03 | 0.54 | [13 empty] | 2000.0147 | 1681.209 | 0.8406 | 0.16075 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686248015 | 399.6943 | 399.9985 | 17.4643 | 17.3865 | 399.3913 | 17.3033 | 500.0891 | 100.6931 | 0.099978 | 26.6693 | 27.1199 | 999.9 | 0 | 0 | 9999.0487 | 0 | 0.22102 | -0.31962 | 406.7863 | 407.0763 | 0.085388 | 399.9985 | 17.3865 | 1.7593 | 1.7507 | 15.4298 | 15.3534 | 2000.0147 | 0.98001 | 0.019995 | 0 | 371.2395 | 5 | 7829.018 | 17494.4867 | 43.9329 | 44.062 | 44.375 | 43.625 | 45.625 | 1955.1247 | 39.89 | 0 | 1482.3 | 0 | 371.2065 | -2.0938 | -272.6954 | 7826.048 | 15 | 1686248042 | 11:14:02 | 1686248042 | 1686248042 | 6 | 0.015 | -0.006 | 0.303 | 0.161 | 400 | 17 | 0.28 | 0.18 | -0.32881 | 0.036497 | 0.028078 | 1 | 371.2501 | -0.75422 | 0.20097 | 1 | 0.086025 | -0.0022349 | 0.0018112 | 1 | 3 | 3 | 3/3 | 2.9494 | 2.7108 | 0.1044 | 0.10421 | 0.091983 | 0.092321 | 27768.9 | 32134.2 | 30914.1 | 34560.9 | 38263.7 | 38840.5 | 42499.9 | 42861.8 | 2.0463 | 2.1894 | 0.21201 | 0 | 23.6621 | 999.9 | 64.766 | 26.244 | 22.0196 | 58.1807 | 18.0929 | 1 | -0.14371 | -0.33952 | 20.2846 | 5.2459 | 11.9861 | 4.9718 | 3.2972 | 9999 | 9999 | 999.9 | 9999 | 4.9718 | 1.8538 | 1.8548 | 1.8591 | 1.8535 | 1.8579 | 1.8551 | 1.8537 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.303 | 0.161 | 0.5432 | -0.00068838 | 1.2147e-07 | -3.398e-13 | -0.0029186 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 24.2 | 24.3 | 0.99365 | 2.3926 | 1.5967 | 2.3303 | 1.5906 | 2.5134 | 32.1344 | 14.2108 | 18 | 498.612 | 574.83 | 24.9997 | 25.4378 | 30.0001 | 25.344 | 25.3021 | 19.9223 | 23.7411 | 66.5226 | 25 | 400 | 17.3902 | 100.637 | 100.722
7 | 1686250218.1 | 10824 | 20230608 11:50:18 | 11:50:18 | 30 | 19.1 | Intact | 240 | 165 | 1686250210.1 | 0.00099638 | 0.99638 | 4.771 | 396.9925 | 253.6203 | 25.5478 | 39.9901 | 0.057266 | 3.8206 | 0.056793 | 0.035538 | 321.5076 | 27.4969 | 26.3298 | 3.4407 | 50.2737 | 1.7187 | 3.4186 | 1.722 | -43.9405 | -22.4391 | -1.2583 | 253.8698 | 4.8298 | 1.0422 | 4.771 | 406.7457 | 403.9515 | -0.021305 | 67.0294 | 0.99638 | 16.438 | 17.0368 | -0.001815 | 77.4784 | 0 | 0 | 1 | 0 | 53306.3201 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-250-20230608-11_49_40 | 10069.4 | 355.2496 | 381.8635 | 0.069695 | 0.5 | 1681.1861 | 4.771 | 58.5848 | 0.0036264 | 1.705 | 153.9012 | - | 0 | 153.9012 | 0.59697 | 0.11675 | 0.74067 | 0.1516 | 0.78763 | 0.050577 | 0.94942 | 250 | 290 | 375.63 | 125 | 10069.4 | 374.36 | 1.27 | 300 | 24.1 | 381.8635 | 1.4312 | -7.5561 | 1.2859 | 0.55221 | -0.0066829 | 290 | 375.05 | 865 | 10030.6 | 374.33 | 0.72 | [13 empty] | 1999.9873 | 1681.1861 | 0.8406 | 0.16075 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686250210.1 | 396.9925 | 400.1377 | 17.0616 | 16.4471 | 396.6945 | 16.9146 | 500.1387 | 100.6325 | 0.10008 | 26.2208 | 26.3298 | 999.9 | 0 | 0 | 9991.4253 | 0 | 0.22102 | -3.1387 | 403.8928 | 406.8288 | 0.62073 | 400.1377 | 16.4471 | 1.7176 | 1.6551 | 15.0562 | 14.4817 | 1999.9873 | 0.98 | 0.019996 | 0 | 355.2203 | 5 | 7319.8193 | 17494.2333 | 41.9832 | 42.062 | 42.3874 | 41.625 | 43.812 | 1955.0973 | 39.89 | 0 | 2193.5 | 0 | 355.2496 | -1.412 | 93.5177 | 7321.2788 | 15 | 1686250244.1 | 11:50:44 | 1686250244.1 | 1686250240.1 | 7 | -0.005 | 0.01 | 0.298 | 0.147 | 400 | 16 | 0.38 | 0.11 | -3.1395 | 0.76722 | 0.27417 | 0 | 355.3553 | -2.3428 | 0.30427 | 0 | 0.61655 | 0.0074217 | 0.018431 | 1 | 1 | 3 | 1/3 | 2.9507 | 2.7107 | 0.10414 | 0.10441 | 0.090565 | 0.088864 | 27847.3 | 32214.4 | 30984.9 | 34646.7 | 38412.2 | 39082.3 | 42597.1 | 42964 | 2.0663 | 2.205 | 0.21935 | 0 | 22.7339 | 999.9 | 61.812 | 26.445 | 21.2782 | 60.6808 | 18.9223 | 1 | -0.25336 | -0.92273 | 20.2848 | 5.2462 | 11.986 | 4.9736 | 3.2976 | 9999 | 9999 | 999.9 | 9999 | 4.9719 | 1.8537 | 1.8547 | 1.8591 | 1.8534 | 1.8579 | 1.855 | 1.8536 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.298 | 0.147 | 0.55853 | -0.00068838 | 1.2147e-07 | -3.398e-13 | -0.0087143 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 36.3 | 36.3 | 0.99487 | 2.3914 | 1.5967 | 2.3267 | 1.5906 | 2.4853 | 30.3079 | 13.9482 | 18 | 499.062 | 572.003 | 25.0004 | 24.0213 | 29.9997 | 24.0549 | 24.0409 | 19.9402 | 25.1673 | 46.3754 | 25 | 400 | 16.3839 | 100.868 | 100.966
8 | 1686251577 | 12182.9 | 20230608 12:12:57 | 12:12:57 | 30 | 19.4 | Excised | 50 | 165 | 1686251568.5 | 0.00018037 | 0.18037 | 1.2149 | 399.2853 | 191.8285 | 19.3298 | 40.2344 | 0.009793 | 3.8226 | 0.0097791 | 0.0061132 | 321.5132 | 27.6843 | 26.7193 | 3.5206 | 49.9621 | 1.7103 | 3.4232 | 1.8103 | -7.9541 | -98.0565 | -5.5073 | 209.9953 | 1.4389 | 0.20395 | 1.2149 | 407.0078 | 406.3314 | -0.011972 | 67.04 | 0.18037 | 16.8492 | 16.957 | -0.00023082 | 77.6326 | 0 | 0 | 1 | 0 | 53341.1052 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-251-20230608-12_12_19 | 10070.4 | 321.869 | 333.6793 | 0.035394 | 0.5 | 1681.2132 | 1.2149 | 29.7525 | 0.0015111 | 2.0956 | 145.4371 | - | 0 | 145.4371 | 0.56414 | 0.06274 | 0.78789 | 0.092725 | 0.84592 | 0.028349 | 0.97165 | 251 | 290 | 331.8 | 125 | 10070.4 | 330.16 | 1.64 | 300 | 24.1 | 333.6793 | 1.1051 | -3.5475 | 0.99304 | 0.31308 | -0.0066835 | 290 | 329.93 | 845 | 10032.8 | 330.14 | -0.21 | [13 empty] | 2000.0194 | 1681.2132 | 0.8406 | 0.16076 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686251568.5 | 399.2853 | 400.1973 | 16.973 | 16.8527 | 398.9613 | 16.816 | 500.1102 | 100.666 | 0.099981 | 26.2435 | 26.7193 | 999.9 | 0 | 0 | 9995.5481 | 0 | 0.22102 | -0.93741 | 406.1549 | 407.0572 | 0.1238 | 400.1973 | 16.8527 | 1.709 | 1.6965 | 14.978 | 14.8644 | 2000.0194 | 0.98 | 0.019998 | 0 | 321.9051 | 5 | 6698.7356 | 17494.5062 | 41.6989 | 41.9606 | 42.1988 | 41.2733 | 43.562 | 1955.1194 | 39.8987 | 0 | 1357.1 | 0 | 321.869 | -1.1763 | -221.9754 | 6695.2064 | 15 | 1686251600 | 12:13:20 | 1686251600 | 1686251596 | 8 | 0.026 | -0.001 | 0.324 | 0.157 | 400 | 17 | 0.37 | 0.18 | -0.93439 | 1.156 | 0.42475 | 0 | 321.9028 | -0.49192 | 0.17404 | 1 | 0.12755 | -0.13812 | 0.01365 | 0 | 1 | 3 | 1/3 | 2.9501 | 2.7105 | 0.10461 | 0.1044 | 0.090238 | 0.090508 | 27816.5 | 32193.9 | 30968.1 | 34625.5 | 38404.2 | 38989.1 | 42572.8 | 42939.4 | 2.0637 | 2.207 | 0.21877 | 0 | 22.9723 | 999.9 | 61.5 | 25.962 | 20.5667 | 60.831 | 19.0064 | 1 | -0.23177 | -0.90329 | 20.284 | 5.2471 | 11.986 | 4.9734 | 3.2974 | 9999 | 9999 | 999.9 | 9999 | 4.9718 | 1.8536 | 1.8547 | 1.8591 | 1.8534 | 1.8578 | 1.855 | 1.8536 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.324 | 0.157 | 0.5538 | -0.00068838 | 1.2147e-07 | -3.398e-13 | 0.00098802 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 22.2 | 22.3 | 0.99243 | 2.3926 | 1.5967 | 2.3267 | 1.5906 | 2.4426 | 30.2005 | 13.738 | 18 | 498.638 | 574.758 | 24.9973 | 24.2548 | 30.0001 | 24.181 | 24.1462 | 19.901 | 20.1275 | 43.027 | 25 | 400 | 16.8445 | 100.811 | 100.907
9 | 1686253800 | 14405.9 | 20230608 12:50:00 | 12:50:00 | 30 | 19.7 | Intact | 270 | 210 | 1686253792 | 0.00086355 | 0.86355 | 4.2321 | 397.2981 | 239.4322 | 24.1155 | 40.0158 | 0.04594 | 3.8222 | 0.045636 | 0.02855 | 321.4997 | 27.9017 | 27.0989 | 3.6 | 49.908 | 1.7447 | 3.4958 | 1.8553 | -38.0824 | -102.9018 | -5.8014 | 174.7141 | 3.6066 | 0.84508 | 4.2321 | 406.8225 | 404.0453 | 0.036043 | 67.0375 | 0.86355 | 16.8232 | 17.3324 | -1.7695e-05 | 77.5324 | 0 | 0 | 1 | 0 | 53269.383 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-252-20230608-12_49_22 | 10066.4 | 410.9838 | 431.3465 | 0.047207 | 0.5 | 1681.1431 | 4.2321 | 39.681 | 0.0033059 | 1.3947 | 161.3617 | - | 0 | 161.3617 | 0.62591 | 0.075422 | 0.69023 | 0.090486 | 0.72776 | 0.029612 | 0.97039 | 252 | 290 | 429.46 | 135 | 10066.4 | 428.33 | 1.13 | 300 | 24.1 | 431.3465 | 1.5677 | -3.0384 | 1.4083 | 0.14255 | -0.006682 | 290 | 429.87 | 735 | 10033.1 | 428.32 | 1.55 | [13 empty] | 1999.936 | 1681.1431 | 0.8406 | 0.16075 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686253792 | 397.2981 | 399.6629 | 17.3224 | 16.8242 | 396.9361 | 17.1684 | 500.1127 | 100.6197 | 0.10006 | 26.5996 | 27.0989 | 999.9 | 0 | 0 | 9998.7153 | 0 | 0.22102 | -2.4017 | 404.27 | 406.5019 | 0.51282 | 399.6629 | 16.8242 | 1.7444 | 1.6928 | 15.2977 | 14.831 | 1999.936 | 0.98 | 0.019996 | 0 | 410.9816 | 5 | 8388.8007 | 17493.7867 | 42.562 | 43 | 43.0538 | 42.437 | 44.375 | 1955.0433 | 39.8947 | 0 | 2221.1 | 0 | 410.9838 | -2.851 | -143.3046 | 8388.0464 | 15 | 1686253826 | 12:50:26 | 1686253819 | 1686253826 | 9 | 0.038 | -0.002 | 0.362 | 0.154 | 399 | 17 | 0.3 | 0.29 | -2.6588 | 0.69658 | 0.7817 | 0 | 411.0758 | -1.9207 | 0.27002 | 0 | 0.51246 | 0.0015531 | 0.0012117 | 1 | 1 | 3 | 1/3 | 2.9501 | 2.7107 | 0.10402 | 0.10456 | 0.091531 | 0.090244 | 27813.5 | 32164.2 | 30946.7 | 34602.3 | 38323.8 | 38976.4 | 42544.9 | 42913.1 | 2.0561 | 2.1999 | 0.21461 | 0 | 23.5613 | 999.9 | 60.682 | 26.103 | 20.4733 | 59.8329 | 18.2011 | 1 | -0.2021 | -0.62867 | 20.2859 | 5.2428 | 11.9863 | 4.9725 | 3.2974 | 9999 | 9999 | 999.9 | 9999 | 4.9718 | 1.8538 | 1.8548 | 1.8591 | 1.8535 | 1.8579 | 1.855 | 1.8537 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.362 | 0.154 | 0.57921 | -0.00068838 | 1.2147e-07 | -3.398e-13 | 0.00048583 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 36.7 | 36.7 | 0.98999 | 2.3999 | 1.5967 | 2.3279 | 1.5906 | 2.3132 | 30.5015 | 13.2302 | 18 | 498.057 | 574.632 | 25.0007 | 24.6823 | 30 | 24.6262 | 24.5949 | 19.8385 | 19.815 | 39.6829 | 25 | 400 | 16.859 | 100.744 | 100.842
10 | 1686255175 | 15780.9 | 20230608 13:12:55 | 13:12:55 | 30 | 19.4 | Excised | 50 | 210 | 1686255166.5 | 0.00016098 | 0.16098 | 1.4674 | 398.6884 | 127.0462 | 12.7982 | 40.1626 | 0.0089023 | 3.8225 | 0.0088908 | 0.0055578 | 321.5071 | 27.4892 | 26.5614 | 3.488 | 50.5784 | 1.7111 | 3.3831 | 1.7769 | -7.099 | -106.5676 | -5.9748 | 201.8657 | 2.1305 | 0.1375 | 1.4674 | 406.8056 | 405.8532 | 0.010513 | 67.0386 | 0.16098 | 16.9024 | 16.9972 | 3.2827e-05 | 77.5534 | 0 | 0 | 1 | 0 | 53374.1366 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-253-20230608-13_12_17 | 10087.2 | 339.3018 | 354.4857 | 0.042834 | 0.5 | 1681.1807 | 1.4674 | 36.0057 | 0.0016614 | 1.9139 | 149.2554 | - | 0 | 149.2554 | 0.57895 | 0.073985 | 0.76775 | 0.10247 | 0.82075 | 0.032545 | 0.96745 | 253 | 290 | 350.38 | 25 | 10087.2 | 349.69 | 0.69 | 300 | 24.1 | 354.4857 | 1.1085 | -4.8386 | 0.99625 | 0.45724 | -0.0066838 | 290 | 350.15 | 865 | 10034.3 | 349.66 | 0.49 | [13 empty] | 1999.9806 | 1681.1807 | 0.8406 | 0.16076 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686255166.5 | 398.6884 | 399.9994 | 16.9861 | 16.905 | 398.3534 | 16.8301 | 500.0693 | 100.6368 | 0.099921 | 26.0443 | 26.5614 | 999.9 | 0 | 0 | 9998.0806 | 0 | 0.22102 | -1.2839 | 405.6063 | 406.8778 | 0.083405 | 399.9994 | 16.905 | 1.7097 | 1.7013 | 14.9844 | 14.908 | 1999.9806 | 0.98 | 0.020002 | 0 | 339.2906 | 5 | 6962.1012 | 17494.15 | 41.0581 | 41.5426 | 41.625 | 40.6909 | 43.0778 | 1955.0806 | 39.9 | 0 | 1373.1 | 0 | 339.3018 | -0.32631 | -167.8569 | 6959.6408 | 15 | 1686255200.1 | 13:13:20 | 1686255200.1 | 1686255195.1 | 10 | -0.026 | 0.004 | 0.335 | 0.156 | 400 | 17 | 0.3 | 0.15 | -1.4463 | 3.0521 | 0.45612 | 0 | 339.2968 | -0.37491 | 0.2155 | 1 | 0.078038 | 0.075161 | 0.011423 | 1 | 2 | 3 | 2/3 | 2.9506 | 2.7106 | 0.10452 | 0.10435 | 0.090401 | 0.090442 | 27826.5 | 32205 | 30975 | 34634.2 | 38405.3 | 39001 | 42581.8 | 42949.1 | 2.0649 | 2.2106 | 0.21166 | 0 | 23.0451 | 999.9 | 60.707 | 25.962 | 20.307 | 60.723 | 18.9784 | 1 | -0.24787 | -0.97129 | 20.2833 | 5.2431 | 11.986 | 4.972 | 3.2968 | 9999 | 9999 | 999.9 | 9999 | 4.9718 | 1.8537 | 1.8547 | 1.8591 | 1.8535 | 1.8579 | 1.855 | 1.8536 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.335 | 0.156 | 0.61718 | -0.00068838 | 1.2147e-07 | -3.398e-13 | -0.0015851 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 22.6 | 22.5 | 0.98633 | 2.3987 | 1.5967 | 2.3291 | 1.5906 | 2.4207 | 30.5446 | 12.4246 | 18 | 497.972 | 575.836 | 24.9982 | 24.0474 | 30.0001 | 24.0304 | 24.0062 | 19.7649 | 19.8855 | 41.5626 | 25 | 400 | 16.6567 | 100.833 | 100.931
11 | 1686257436 | 18041.9 | 20230608 13:50:36 | 13:50:36 | 30 | 19.6 | Intact | 270 | 210 | 1686257428 | 0.0012001 | 1.2001 | 6.0507 | 396.1767 | 247.5328 | 24.9215 | 39.8869 | 0.069889 | 3.8213 | 0.069187 | 0.043304 | 321.5157 | 27.4666 | 26.2696 | 3.4285 | 50.4766 | 1.7267 | 3.4209 | 1.7017 | -52.9265 | -7.7255 | -0.43305 | 260.4307 | 5.9738 | 1.1466 | 6.0507 | 406.6618 | 403.0334 | -0.011465 | 67.0386 | 1.2001 | 16.4551 | 17.1629 | -2.9403e-05 | 77.5514 | 0 | 0 | 1 | 0 | 53316.5771 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-254-20230608-13_49_58 | 10075.1 | 342.7785 | 370.5613 | 0.074975 | 0.5 | 1681.2261 | 6.0507 | 63.0249 | 0.0043875 | 1.7875 | 152.0324 | - | 0 | 152.0324 | 0.58972 | 0.12714 | 0.75192 | 0.16915 | 0.8013 | 0.056388 | 0.94361 | 254 | 290 | 366.75 | 55 | 10075.1 | 365.67 | 1.08 | 300 | 24.1 | 370.5613 | 1.6267 | -4.9244 | 1.4608 | 0.2887 | -0.00668 | 290 | 367.42 | 885 | 10024.2 | 365.65 | 1.77 | [13 empty] | 2000.0347 | 1681.2261 | 0.8406 | 0.16076 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686257428 | 396.1767 | 400.0328 | 17.1508 | 16.4748 | 395.8047 | 17.0098 | 500.1004 | 100.5797 | 0.099939 | 26.2321 | 26.2696 | 999.9 | 0 | 0 | 9999.2907 | 0 | 0.22102 | -3.8907 | 403.0657 | 406.7337 | 0.70221 | 400.0328 | 16.4748 | 1.7277 | 1.657 | 15.1472 | 14.4996 | 2000.0347 | 0.98 | 0.02 | 0 | 342.8493 | 5 | 7080.894 | 17494.6133 | 42.8539 | 42.5 | 43.1124 | 42.437 | 44.562 | 1955.1347 | 39.9 | 0 | 2259.5 | 0 | 342.7785 | -0.66923 | -53.0754 | 7079.998 | 15 | 1686257468 | 13:51:08 | 1686257468 | 1686257460 | 11 | 0.037 | -0.006 | 0.372 | 0.141 | 400 | 16 | 0.37 | 0.08 | -3.8946 | 0.34655 | 0.077337 | 1 | 342.8097 | -0.58892 | 0.20337 | 1 | 0.69634 | 0.15539 | 0.016891 | 0 | 2 | 3 | 2/3 | 2.95 | 2.7105 | 0.10379 | 0.10431 | 0.090852 | 0.088719 | 27817.1 | 32171.6 | 30942.4 | 34600.1 | 38346.5 | 39038.5 | 42538.1 | 42909.4 | 2.0569 | 2.2059 | 0.1793 | 0 | 23.3109 | 999.9 | 60.347 | 25.488 | 19.6399 | 60.4169 | 18.758 | 1 | -0.2047 | -0.69028 | 20.2865 | 5.2447 | 11.9864 | 4.9726 | 3.2973 | 9999 | 9999 | 999.9 | 9999 | 4.9719 | 1.8537 | 1.8547 | 1.8591 | 1.8535 | 1.8579 | 1.855 | 1.8537 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.372 | 0.141 | 0.5909 | -0.00068838 | 1.2147e-07 | -3.398e-13 | 0.0029006 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 37.3 | 37.3 | 0.98877 | 2.3938 | 1.5967 | 2.3303 | 1.5906 | 2.4499 | 29.922 | 15.3491 | 18 | 497.557 | 577.751 | 24.9983 | 24.614 | 30.0001 | 24.5187 | 24.4771 | 19.816 | 18.4002 | 42.319 | 25 | 400 | 16.2878 | 100.729 | 100.835
12 | 1686258857.1 | 19463 | 20230608 14:14:17 | 14:14:17 | 30 | 19.4 | Excised | 40 | 210 | 1686258849.1 | 0.00015608 | 0.15608 | 1.3363 | 399.2841 | 166.0554 | 16.722 | 40.2085 | 0.0094813 | 3.8223 | 0.0094682 | 0.0059188 | 321.5084 | 27.4014 | 25.6827 | 3.3114 | 50.2951 | 1.6926 | 3.3654 | 1.6188 | -6.8832 | 56.2112 | 3.1364 | 373.9728 | 1.1387 | 0.15575 | 1.3363 | 406.7237 | 406.0285 | -0.022144 | 67.0401 | 0.15608 | 16.7136 | 16.8056 | 2.7215e-07 | 77.643 | 0 | 0 | 1 | 0 | 53386.0103 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-255-20230608-14_13_40 | 10079.3 | 334.8089 | 348.3596 | 0.038899 | 0.5 | 1681.19 | 1.3363 | 32.698 | 0.0015834 | 1.9651 | 148.1584 | - | 0 | 148.1584 | 0.5747 | 0.067685 | 0.77373 | 0.095395 | 0.82816 | 0.029952 | 0.97005 | 255 | 290 | 345.24 | 45 | 10079.3 | 343.72 | 1.52 | 300 | 24.1 | 348.3596 | 1.319 | -4.6768 | 1.1849 | 0.35748 | -0.006681 | 290 | 343.59 | 645 | 10038.4 | 343.7 | -0.11 | [13 empty] | 1999.992 | 1681.19 | 0.8406 | 0.16075 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686258849.1 | 399.2841 | 400.0045 | 16.8083 | 16.7164 | 398.9201 | 16.6523 | 500.0983 | 100.6015 | 0.10001 | 25.9554 | 25.6827 | 999.9 | 0 | 0 | 10000.9567 | 0 | 0.22102 | -0.71192 | 406.1172 | 406.8049 | 0.088155 | 400.0045 | 16.7164 | 1.6906 | 1.6817 | 14.8101 | 14.7285 | 1999.992 | 0.98 | 0.019997 | 0 | 334.7967 | 5 | 6871.6893 | 17494.26 | 41.0581 | 41.4039 | 41.562 | 40.75 | 42.958 | 1955.102 | 39.89 | 0 | 1418.9 | 0 | 334.8089 | -0.038496 | -104.7409 | 6871.3912 | 15 | 1686258877.1 | 14:14:37 | 1686258876.1 | 1686258877.1 | 12 | -0.007 | 0.006 | 0.364 | 0.156 | 401 | 17 | 0.33 | 0.19 | -0.74466 | 0.76354 | 0.10615 | 0 | 334.8402 | -0.44982 | 0.20289 | 1 | 0.087064 | 0.030514 | 0.0037523 | 1 | 2 | 3 | 2/3 | 2.9507 | 2.7109 | 0.10454 | 0.10441 | 0.089637 | 0.089938 | 27817.4 | 32194.2 | 30965.9 | 34625.6 | 38426.2 | 39014 | 42568.8 | 42939.7 | 2.0593 | 2.2164 | 0.17679 | 0 | 22.7767 | 999.9 | 62.538 | 25.106 | 19.8912 | 60.667 | 18.5617 | 1 | -0.23875 | -0.96408 | 20.2856 | 5.2443 | 11.9866 | 4.9733 | 3.2978 | 9999 | 9999 | 999.9 | 9999 | 4.9719 | 1.8537 | 1.8547 | 1.8591 | 1.8535 | 1.8579 | 1.855 | 1.8536 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.364 | 0.156 | 0.62787 | -0.00068838 | 1.2147e-07 | -3.398e-13 | -0.0032969 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 23.2 | 23.3 | 0.98633 | 2.3877 | 1.5967 | 2.3303 | 1.5906 | 2.5183 | 29.6657 | 14.8325 | 18 | 495.094 | 580.778 | 24.9993 | 24.1476 | 30.0001 | 24.0931 | 24.0591 | 19.7633 | 18.7652 | 52.1419 | 25 | 400 | 16.6624 | 100.803 | 100.907
13 | 1686260972 | 21577.9 | 20230608 14:49:32 | 14:49:32 | 30 | 19.9 | Intact | 230 | 210 | 1686260964 | 0.0010779 | 1.0779 | 4.9629 | 396.4955 | 254.1156 | 25.5678 | 39.8933 | 0.060159 | 3.8183 | 0.059637 | 0.03732 | 321.512 | 27.7527 | 26.6868 | 3.5138 | 50.1699 | 1.7428 | 3.4739 | 1.771 | -47.5344 | -39.9729 | -2.25 | 231.7547 | 5.362 | 1.0639 | 4.9629 | 407.5296 | 403.8825 | 0.11451 | 67.04 | 1.0779 | 16.6927 | 17.3281 | -8.3933e-06 | 77.6334 | 0 | 0 | 1 | 0 | 53211.7897 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-256-20230608-14_48_55 | 10073.6 | 329.5514 | 355.768 | 0.07369 | 0.5 | 1681.209 | 4.9629 | 61.9443 | 0.0037405 | 1.9034 | 149.4823 | - | 0 | 149.4823 | 0.57983 | 0.12709 | 0.7665 | 0.17541 | 0.81919 | 0.057647 | 0.94235 | 256 | 290 | 350.69 | 45 | 10073.6 | 349.68 | 1.01 | 300 | 24.2 | 355.768 | 1.2802 | -6.1357 | 1.1491 | 0.50451 | -0.0066782 | 290 | 350.71 | 845 | 10020.9 | 349.65 | 1.06 | [13 empty] | 2000.0147 | 1681.209 | 0.8406 | 0.16075 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686260964 | 396.4955 | 399.9651 | 17.3219 | 16.6948 | 396.1375 | 17.1729 | 500.0939 | 100.5149 | 0.099911 | 26.4926 | 26.6868 | 999.9 | 0 | 0 | 9994.582 | 0 | 0.22102 | -3.4612 | 403.5023 | 406.7559 | 0.64926 | 399.9651 | 16.6948 | 1.7433 | 1.6781 | 15.2878 | 14.6951 | 2000.0147 | 0.98 | 0.019996 | 0 | 329.557 | 5 | 6844.0813 | 17494.4867 | 43.625 | 43.5 | 43.9916 | 43.25 | 45.312 | 1955.1213 | 39.89 | 0 | 2112.9 | 0 | 329.5514 | -2.3386 | -77.8793 | 6843.1081 | 15 | 1686260999 | 14:49:59 | 1686260999 | 1686260993 | 13 | -0.006 | -0.006 | 0.358 | 0.149 | 400 | 17 | 0.45 | 0.11 | -3.4441 | -2.4908 | 0.55613 | 0 | 329.6908 | -2.1418 | 0.29015 | 0 | 0.65629 | -0.1344 | 0.013624 | 0 | 0 | 3 | 0/3 | 2.9495 | 2.7105 | 0.10379 | 0.10412 | 0.09137 | 0.089615 | 27803.4 | 32159.8 | 30928.5 | 34582 | 38308.5 | 38980.7 | 42520.5 | 42888.3 | 2.0527 | 2.2019 | 0.20272 | 0 | 23.3384 | 999.9 | 64.626 | 25.337 | 20.8595 | 59.0772 | 18.5016 | 1 | -0.18336 | -0.46454 | 20.286 | 5.2426 | 11.986 | 4.9717 | 3.297 | 9999 | 9999 | 999.9 | 9999 | 4.9719 | 1.8537 | 1.8547 | 1.8591 | 1.8535 | 1.8579 | 1.855 | 1.8536 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.358 | 0.149 | 0.62034 | -0.00068838 | 1.2147e-07 | -3.398e-13 | 0.0028446 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 34.9 | 34.9 | 0.98023 | 2.3926 | 1.5967 | 2.3303 | 1.5906 | 2.3547 | 30.0718 | 13.9657 | 18 | 497.775 | 578.233 | 24.999 | 24.9242 | 30.0001 | 24.8198 | 24.7762 | 19.6566 | 22.9475 | 56.5709 | 25 | 400 | 16.659 | 100.685 | 100.783
14 | 1686262401.1 | 23007 | 20230608 15:13:21 | 15:13:21 | 30 | 21 | Excised | 60 | 210 | 1686262393.1 | 6.5276e-05 | 0.065276 | 0.4587 | 399.6505 | 180.5072 | 18.1643 | 40.2165 | 0.0034888 | 3.8198 | 0.003487 | 0.0021795 | 321.5052 | 27.7589 | 26.817 | 3.5409 | 49.6951 | 1.7062 | 3.4334 | 1.8346 | -2.8787 | -107.7275 | -6.0594 | 204.8396 | 1.5213 | -0.026725 | 0.4587 | 407.5269 | 406.9857 | 0.048283 | 67.0399 | 0.065276 | 17.0124 | 17.0002 | 0.0080745 | 77.6146 | 0 | 0 | 1 | 0 | 53275.4065 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-257-20230608-15_12_44 | 10066 | 331.2126 | 344.0585 | 0.037336 | 0.5 | 1681.1732 | 0.4587 | 31.3844 | 0.0010614 | 2.0022 | 147.3748 | - | 0 | 147.3748 | 0.57166 | 0.065312 | 0.7779 | 0.093257 | 0.83336 | 0.029061 | 0.97094 | 257 | 290 | 341.52 | 95 | 10066 | 340.6 | 0.92 | 300 | 24.1 | 344.0585 | 1.2872 | -3.4851 | 1.1557 | 0.24515 | -0.0066777 | 290 | 341.05 | 855 | 10023.7 | 340.58 | 0.47 | [13 empty] | 1999.972 | 1681.1732 | 0.8406 | 0.16075 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686262393.1 | 399.6505 | 400.5567 | 16.9555 | 16.9713 | 399.2785 | 16.7945 | 500.1081 | 100.5293 | 0.10002 | 26.2939 | 26.817 | 999.9 | 0 | 0 | 9998.622 | 0 | 0.22102 | -0.91911 | 406.5283 | 407.4721 | -0.02114 | 400.5567 | 16.9713 | 1.704 | 1.7061 | 14.9328 | 14.9521 | 1999.972 | 0.98 | 0.019996 | 0 | 331.2512 | 5 | 6842.5673 | 17494.1 | 41.6373 | 41.937 | 42.125 | 41.312 | 43.5041 | 1955.082 | 39.89 | 0 | 1427.3 | 0 | 331.2126 | 0.071043 | -92.1012 | 6842.1562 | 15 | 1686262420.1 | 15:13:40 | 1686262420.1 | 1686262420.1 | 14 | 0.012 | 0.004 | 0.372 | 0.161 | 399 | 17 | 0.34 | 0.17 | -0.9028 | 1.189 | 0.35292 | 0 | 331.274 | -0.56468 | 0.24151 | 1 | 0.0052191 | -0.407 | 0.046531 | 0 | 1 | 3 | 1/3 | 2.95 | 2.7106 | 0.1045 | 0.10422 | 0.090216 | 0.090923 | 27787.2 | 32163.6 | 30934 | 34588.6 | 38363.6 | 38931.5 | 42527 | 42895.8 | 2.0556 | 2.2049 | 0.22885 | 0 | 23.0405 | 999.9 | 63.643 | 25.378 | 20.5887 | 59.97 | 17.8165 | 1 | -0.19503 | -0.73188 | 20.2856 | 5.2463 | 11.9876 | 4.9733 | 3.2975 | 9999 | 9999 | 999.9 | 9999 | 4.9719 | 1.8537 | 1.8547 | 1.8591 | 1.8534 | 1.8578 | 1.855 | 1.8536 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.372 | 0.161 | 0.61461 | -0.00068838 | 1.2147e-07 | -3.398e-13 | -0.0034262 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 23.4 | 23.5 | 0.97656 | 2.4036 | 1.5967 | 2.3291 | 1.5906 | 2.3303 | 30.0932 | 13.5016 | 18 | 498.262 | 578.947 | 25.0003 | 24.7281 | 30.0002 | 24.6769 | 24.6446 | 19.6035 | 19.6944 | 53.6041 | 25 | 400 | 17.0638 | 100.702 | 100.802
15 | 1686264611.1 | 25217 | 20230608 15:50:11 | 15:50:11 | 30 | 22.1 | Intact | 260 | 234 | 1686264602.7125 | 0.00081915 | 0.81915 | 3.9042 | 397.5642 | 241.9932 | 24.3338 | 39.9774 | 0.043077 | 3.8161 | 0.042809 | 0.02678 | 321.5096 | 28.3352 | 27.4253 | 3.6695 | 50.1614 | 1.7977 | 3.5839 | 1.8718 | -36.1244 | -82.9008 | -4.6988 | 197.7855 | 3.1532 | 0.76904 | 3.9042 | 405.5523 | 404.1824 | -0.18786 | 67.0398 | 0.81915 | 17.4116 | 17.8942 | -5.7715e-06 | 77.6032 | 0 | 0 | 1 | 0 | 53072.4536 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-258-20230608-15_49_34 | 10058.9 | 396.8239 | 414.4877 | 0.042616 | 0.5 | 1681.1939 | 3.9042 | 35.8228 | 0.0031108 | 1.4921 | 158.9433 | - | 0 | 158.9433 | 0.61653 | 0.069122 | 0.70761 | 0.08485 | 0.74816 | 0.027686 | 0.97231 | 258 | 290 | 414.07 | 105 | 10058.9 | 413 | 1.07 | 300 | 24.2 | 414.4877 | 1.271 | -1.5007 | 1.1402 | 0.058265 | -0.0066753 | 290 | 415.54 | 845 | 10015 | 412.99 | 2.55 | [13 empty] | 1999.9962 | 1681.1939 | 0.8406 | 0.16076 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686264602.7125 | 397.5642 | 399.6391 | 17.8778 | 17.4247 | 397.2502 | 17.7188 | 500.0983 | 100.4558 | 0.099988 | 27.0223 | 27.4253 | 999.9 | 0 | 0 | 9991.7987 | 0 | 0.22102 | -2.0167 | 404.87 | 406.7261 | 0.47635 | 399.6391 | 17.4247 | 1.7983 | 1.7504 | 15.7717 | 15.3509 | 1999.9962 | 0.98 | 0.02 | 0 | 396.8421 | 5 | 8146.9019 | 17494.2938 | 44.2732 | 44.562 | 44.656 | 44.062 | 45.9646 | 1955.0963 | 39.9 | 0 | 2208.7 | 0 | 396.8239 | -0.75911 | -39.0297 | 8146.2838 | 15 | 1686264641.1 | 15:50:41 | 1686264641.1 | 1686264632.1 | 15 | -0.056 | -0.01 | 0.314 | 0.159 | 400 | 17 | 0.81 | 0.13 | -1.9771 | 2.7608 | 0.70734 | 0 | 396.8893 | -1.445 | 0.22118 | 0 | 0.47395 | 0.1342 | 0.017627 | 0 | 0 | 3 | 0/3 | 2.9487 | 2.7109 | 0.10349 | 0.10379 | 0.093213 | 0.091948 | 27762.5 | 32112.3 | 30877.8 | 34523.9 | 38167.7 | 38817.4 | 42451.4 | 42819 | 2.0398 | 2.1787 | 0.18856 | 0 | 24.3475 | 999.9 | 63.21 | 26.324 | 21.6431 | 59.5218 | 18.4495 | 1 | -0.10755 | -0.087045 | 20.286 | 5.2463 | 11.986 | 4.9719 | 3.2974 | 9999 | 9999 | 999.9 | 9999 | 4.9718 | 1.8538 | 1.8548 | 1.8591 | 1.8535 | 1.8579 | 1.855 | 1.8537 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.314 | 0.159 | 0.62653 | -0.00068838 | 1.2147e-07 | -3.398e-13 | 0.00032667 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 36.5 | 36.5 | 0.979 | 2.3999 | 1.5967 | 2.3279 | 1.5906 | 2.4341 | 31.4988 | 12.3809 | 18 | 498.935 | 572.366 | 25.0006 | 25.9145 | 30.0002 | 25.8295 | 25.7913 | 19.6087 | 22.3241 | 52.3295 | 25 | 400 | 17.3274 | 100.521 | 100.618
16 | 1686266061.1 | 26667 | 20230608 16:14:21 | 16:14:21 | 30 | 22.6 | Excised | 60 | 234 | 1686266053.1 | 0.00044873 | 0.44873 | 1.832 | 398.7497 | 258.9184 | 26.0374 | 40.0992 | 0.022715 | 3.817 | 0.02264 | 0.014157 | 321.5095 | 28.4667 | 27.6952 | 3.7279 | 49.7639 | 1.7894 | 3.5958 | 1.9385 | -19.7892 | -126.8111 | -7.1977 | 167.7114 | 1.8709 | 0.43264 | 1.832 | 407.0752 | 405.9628 | -0.0011575 | 67.0332 | 0.44873 | 17.5402 | 17.8046 | 1.0479e-05 | 77.4938 | 0 | 0 | 1 | 0 | 53079.8256 | RECT-157-20230531-15_53_52 | 10043.6 | 206.3108 | 1032.93 | 0.80027 | -1.3256 | MPF-259-20230608-16_13_44 | 10066 | 369.7827 | 386.2435 | 0.042618 | 0.5 | 1681.1931 | 1.832 | 35.8244 | 0.0018782 | 1.6743 | 154.6079 | - | 0 | 154.6079 | 0.59971 | 0.071064 | 0.73627 | 0.091483 | 0.78233 | 0.029712 | 0.97029 | 259 | 290 | 382.91 | 65 | 10066 | 381.67 | 1.24 | 300 | 24.2 | 386.2435 | 1.1771 | -4.6076 | 1.0561 | 0.40468 | -0.0066755 | 290 | 382.52 | 865 | 10015.6 | 381.64 | 0.88 | [13 empty] | 1999.9953 | 1681.1931 | 0.8406 | 0.16076 | 3 | 0.5 | 0: Broadleaf | 2 | TRUE | 1686266053.1 | 398.7497 | 399.9755 | 17.794 | 17.5391 | 398.4487 | 17.631 | 500.1 | 100.4623 | 0.1 | 27.079 | 27.6952 | 999.9 | 0 | 0 | 9994.5427 | 0 | 0.22102 | -1.2114 | 405.9914 | 407.1159 | 0.26211 | 399.9755 | 17.5391 | 1.7884 | 1.762 | 15.6853 | 15.4539 | 1999.9953 | 0.98 | 0.020002 | 0 | 369.8261 | 5 | 7608.496 | 17494.28 | 43.8246 | 44.1912 | 44.2831 | 43.6374 | 45.625 | 1955.0947 | 39.9 | 0 | 1448.5 | 0 | 369.7827 | -1.3659 | -105.6315 | 7607.3468 | 15 | 1686266084.1 | 16:14:44 | 1686266084.1 | 1686266079.1 | 16 | -0.013 | 0 | 0.301 | 0.163 | 402 | 18 | 0.75 | 0.17 | -1.2285 | 0.31442 | 0.041898 | 1 | 369.8736 | -1.6052 | 0.24861 | 0 | 0.26072 | 0.023834 | 0.0025371 | 1 | 2 | 3 | 2/3 | 2.9488 | 2.7108 | 0.10386 | 0.10386 | 0.092944 | 0.092606 | 27751.7 | 32110.5 | 30878.4 | 34524.3 | 38179.8 | 38790 | 42452.2 | 42819.8 | 2.041 | 2.178 | 0.20493 | 0 | 24.3414 | 999.9 | 61.165 | 26.697 | 21.4056 | 59.3018 | 18.4415 | 1 | -0.11014 | -0.089197 | 20.2871 | 5.2421 | 11.9861 | 4.9725 | 3.2973 | 9999 | 9999 | 999.9 | 9999 | 4.9719 | 1.8538 | 1.8548 | 1.8591 | 1.8535 | 1.8579 | 1.8551 | 1.8537 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.301 | 0.163 | 0.57051 | -0.00068838 | 1.2147e-07 | -3.398e-13 | -0.0095646 | -0.0084017 | 0.0012516 | -1.1168e-05 | 6 | 2124 | 0 | 22 | 23.7 | 23.8 | 0.98023 | 2.406 | 1.5967 | 2.3267 | 1.5906 | 2.4548 | 31.3244 | 15.5505 | 18 | 499.539 | 571.706 | 25.0003 | 25.8817 | 30.0002 | 25.8121 | 25.7775 | 19.6611 | 19.8317 | 50.4726 | 25 | 400 | 17.5448 | 100.523 | 100.619

## Remarks
File opened | 2023-06-08 08:17:56
Console s/n | 68C-831503
Console ver | Bluestem v.2.1.08
Scripts ver | 2022.05 2.1.08, Aug 2022
Head s/n | 68H-581503
Head ver | 1.4.22
Head cal | {"co2aspan2b": "0.325324", "co2bspan1": "1.00258", "oxygen": "21", "h2obspan2a": "0.0696041", "co2bspan2a": "0.327161", "h2oaspan1": "1.00419", "h2obspanconc2": "0", "co2bzero": "0.959397", "h2oaspanconc1": "12.52", "chamberpressurezero": "2.56232", "co2aspan1": "1.0024", "co2bspanconc1": "2490", "h2oaspanconc2": "0", "co2bspan2b": "0.324713", "co2bspan2": "-0.0307545", "co2aspan2": "-0.030163", "h2oazero": "1.00658", "ssb_ref": "38434", "flowmeterzero": "0.995701", "ssa_ref": "36474.5", "tbzero": "-0.0150089", "tazero": "-0.0478325", "co2aspanconc2": "309.1", "co2aspan2a": "0.327778", "h2oaspan2a": "0.0693836", "co2azero": "0.992736", "h2obspanconc1": "12.52", "co2aspanconc1": "2490", "h2obspan2": "0", "flowazero": "0.31134", "h2oaspan2b": "0.0696742", "h2obspan1": "1.00227", "flowbzero": "0.30834", "h2obspan2b": "0.0697624", "h2obzero": "1.00009", "co2bspanconc2": "309.1", "h2oaspan2": "0"}
CO2 rangematch | Wed Apr 26 11:53
H2O rangematch | Wed Apr 26 12:17
Chamber type | 6800-01A
Chamber s/n | MPF-651385
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-651385
Flr. Version | 1.4.22
08:17:56 | Stability Definition: ΔH2O (Meas2): Slp<0.1 Per=20 ΔCO2 (Meas2): Slp<0.5 Per=20 F (FlrLS): Slp<1 Per=20